## NVMe SMART Summary
NVMe SSD Health Status Report
Source: smartctl output, 143 NVMe drives across 6 hosts ¦ Generated 2026-05-25
Hostname | NVME Device | Model Number | Capacity | TBW (Terabytes Written) | Endurance Used | Write Endurance (Life Remaining) | Available Spare | Disk Health | Summary | Notes
zs-storage01 | nvme0n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 528 | 0.04 | 0.96 | 0.99 | PASSED | Good | All indicators nominal
zs-storage01 | nvme1n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 429 | 0.03 | 0.97 | 1 | PASSED | Good | All indicators nominal
zs-storage01 | nvme2n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 459 | 0.03 | 0.97 | 0.99 | PASSED | Good | All indicators nominal
zs-storage01 | nvme3n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 459 | 0.03 | 0.97 | 0.99 | PASSED | Good | All indicators nominal
zs-storage01 | nvme4n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 524 | 0.04 | 0.96 | 0.99 | PASSED | Good | All indicators nominal
zs-storage01 | nvme5n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 492 | 0.04 | 0.96 | 1 | PASSED | Good | All indicators nominal
zs-storage01 | nvme6n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 444 | 0.03 | 0.97 | 1 | PASSED | Good | All indicators nominal
zs-storage01 | nvme7n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 471 | 0.03 | 0.97 | 1 | PASSED | Good | All indicators nominal
zs-storage01 | nvme8n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 413 | 0.03 | 0.97 | 1 | PASSED | Good | All indicators nominal
zs-storage01 | nvme9n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 403 | 0.03 | 0.97 | 1 | PASSED | Good | All indicators nominal
zs-storage01 | nvme10n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 489 | 0.03 | 0.97 | 1 | PASSED | Good | All indicators nominal
zs-storage01 | nvme11n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 208 | 0.01 | 0.99 | 1 | PASSED | Good | All indicators nominal
zs-storage01 | nvme12n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 241 | 0.01 | 0.99 | 1 | PASSED | Good | All indicators nominal
zs-storage01 | nvme13n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 365 | 0.02 | 0.98 | 0.99 | PASSED | Good | All indicators nominal
zs-storage01 | nvme14n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 472 | 0.04 | 0.96 | 0.99 | PASSED | Good | All indicators nominal
zs-storage01 | nvme15n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 443 | 0.03 | 0.97 | 1 | PASSED | Good | All indicators nominal
zs-storage01 | nvme16n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 493 | 0.04 | 0.96 | 1 | PASSED | Good | All indicators nominal
zs-storage01 | nvme17n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 468 | 0.03 | 0.97 | 0.99 | PASSED | Good | All indicators nominal
zs-storage01 | nvme19n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 437 | 0.03 | 0.97 | 1 | PASSED | Good | All indicators nominal
zs-storage01 | nvme20n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 282 | 0.03 | 0.97 | 1 | PASSED | Good | All indicators nominal
zs-storage01 | nvme21n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 506 | 0.04 | 0.96 | 1 | PASSED | Good | All indicators nominal
zs-storage01 | nvme22n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 458 | 0.03 | 0.97 | 0.99 | PASSED | Good | All indicators nominal
zs-storage01 | nvme23n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 194 | 0.01 | 0.99 | 1 | PASSED | Good | All indicators nominal
zs-storage02 | nvme0n1 | Dell Express Flash NVMe SM1715 3.2TB SFF | 3.20 TB | 731 | 0 | 1 | 0.78 | PASSED | Warning | Available Spare reduced to 78% (NAND wear)
zs-storage02 | nvme1n1 | Dell Express Flash NVMe SM1715 3.2TB SFF | 3.20 TB | 254 | 0 | 1 | 0.78 | PASSED | Warning | Available Spare reduced to 78% (NAND wear)
zs-storage02 | nvme2n1 | Dell Express Flash NVMe SM1715 3.2TB SFF | 3.20 TB | 741 | 0 | 1 | 0.8 | PASSED | Warning | Available Spare reduced to 80% (NAND wear)
zs-storage02 | nvme3n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 494 | 0.04 | 0.96 | 1 | PASSED | Good | All indicators nominal
zs-storage02 | nvme4n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 518 | 0.04 | 0.96 | 0.99 | PASSED | Good | All indicators nominal
zs-storage02 | nvme5n1 | Dell Express Flash NVMe SM1715 3.2TB SFF | 3.20 TB | 769 | 0 | 1 | 0.81 | PASSED | Warning | Available Spare reduced to 81% (NAND wear)
zs-storage02 | nvme6n1 | Dell Express Flash NVMe SM1715 3.2TB SFF | 3.20 TB | 861 | 0 | 1 | 0.78 | PASSED | Warning | Available Spare reduced to 78% (NAND wear)
zs-storage02 | nvme7n1 | Dell Express Flash NVMe SM1715 3.2TB SFF | 3.20 TB | 784 | 0 | 1 | 0.82 | PASSED | Warning | Available Spare reduced to 82% (NAND wear)
zs-storage02 | nvme8n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 209 | 0.01 | 0.99 | 0.99 | PASSED | Good | All indicators nominal
zs-storage02 | nvme9n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 157 | 0 | 1 | 1 | PASSED | Good | All indicators nominal
zs-storage02 | nvme10n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 504 | 0.04 | 0.96 | 1 | PASSED | Good | All indicators nominal
zs-storage02 | nvme11n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 578 | 0.04 | 0.96 | 1 | PASSED | Good | All indicators nominal
zs-storage02 | nvme12n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 523 | 0.04 | 0.96 | 1 | PASSED | Good | All indicators nominal
zs-storage02 | nvme13n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 423 | 0.03 | 0.97 | 1 | PASSED | Good | All indicators nominal
zs-storage02 | nvme14n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 445 | 0.03 | 0.97 | 1 | PASSED | Good | All indicators nominal
zs-storage02 | nvme15n1 | Dell Express Flash NVMe SM1715 3.2TB SFF | 3.20 TB | 463 | 0 | 1 | 0.8 | PASSED | Warning | Available Spare reduced to 80% (NAND wear)
zs-storage02 | nvme16n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 361 | 0.02 | 0.98 | 1 | PASSED | Good | All indicators nominal
zs-storage02 | nvme17n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 505 | 0.04 | 0.96 | 1 | PASSED | Good | All indicators nominal
zs-storage02 | nvme18n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 469 | 0.03 | 0.97 | 0.99 | PASSED | Good | All indicators nominal
zs-storage02 | nvme19n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 329 | 0.02 | 0.98 | 1 | PASSED | Good | All indicators nominal
zs-storage02 | nvme20n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 423 | 0.04 | 0.96 | 1 | PASSED | Good | All indicators nominal
zs-storage02 | nvme21n1 | Dell Express Flash NVMe SM1715 3.2TB SFF | 3.20 TB | 417 | 0 | 1 | 0.77 | PASSED | Warning | Available Spare reduced to 77% (NAND wear)
zs-storage02 | nvme22n1 | Dell Express Flash NVMe SM1715 3.2TB SFF | 3.20 TB | 591 | 0 | 1 | 0.73 | PASSED | Warning | Available Spare reduced to 73% (NAND wear)
zs-storage02 | nvme23n1 | Dell Express Flash NVMe SM1715 3.2TB SFF | 3.20 TB | 644 | 0 | 1 | 0.77 | PASSED | Warning | Available Spare reduced to 77% (NAND wear)
zs-storage03 | nvme0n1 | Dell Ent NVMe CM6 MU 3.2TB | 3.20 TB | 210 | 0.01 | 0.99 | 1 | PASSED | Good | All indicators nominal
zs-storage03 | nvme1n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 433 | 0.03 | 0.97 | 0.99 | PASSED | Good | All indicators nominal
zs-storage03 | nvme2n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 215 | 0.01 | 0.99 | 1 | PASSED | Good | All indicators nominal
zs-storage03 | nvme3n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 447 | 0.03 | 0.97 | 1 | PASSED | Good | All indicators nominal
zs-storage03 | nvme4n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 371 | 0.02 | 0.98 | 1 | PASSED | Good | All indicators nominal
zs-storage03 | nvme5n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 388 | 0.02 | 0.98 | 1 | PASSED | Good | All indicators nominal
zs-storage03 | nvme6n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 569 | 0.04 | 0.96 | 1 | PASSED | Good | All indicators nominal
zs-storage03 | nvme7n1 | Dell Ent NVMe CM6 MU 3.2TB | 3.20 TB | 198 | 0.01 | 0.99 | 1 | PASSED | Good | All indicators nominal
zs-storage03 | nvme8n1 | Dell Express Flash NVMe SM1715 3.2TB SFF | 3.20 TB | 256 | 0 | 1 | 0.68 | PASSED | Warning | Available Spare reduced to 68% (NAND wear)
zs-storage03 | nvme9n1 | Dell Express Flash NVMe SM1715 3.2TB SFF | 3.20 TB | 670 | 0 | 1 | 0.75 | PASSED | Warning | Available Spare reduced to 75% (NAND wear)
zs-storage03 | nvme10n1 | Dell Ent NVMe CM6 MU 3.2TB | 3.20 TB | 196 | 0.01 | 0.99 | 1 | PASSED | Good | All indicators nominal
zs-storage03 | nvme11n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 347 | 0.02 | 0.98 | 0.99 | PASSED | Good | All indicators nominal
zs-storage03 | nvme12n1 | Dell Express Flash PM1725b 3.2TB SFF | 3.20 TB | 221 | 0 | 1 | 1 | PASSED | Good | All indicators nominal
zs-storage03 | nvme13n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 443 | 0.03 | 0.97 | 1 | PASSED | Good | All indicators nominal
zs-storage03 | nvme14n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 473 | 0.03 | 0.97 | 1 | PASSED | Good | All indicators nominal
zs-storage03 | nvme15n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 524 | 0.04 | 0.96 | 0.99 | PASSED | Good | All indicators nominal
zs-storage03 | nvme16n1 | Dell Express Flash PM1725b 3.2TB SFF | 3.20 TB | 225 | 0 | 1 | 1 | PASSED | Good | All indicators nominal
zs-storage03 | nvme17n1 | Dell Express Flash PM1725b 3.2TB SFF | 3.20 TB | 208 | 0 | 1 | 1 | PASSED | Good | All indicators nominal
zs-storage03 | nvme18n1 | Dell Express Flash PM1725b 3.2TB SFF | 3.20 TB | 214 | 0 | 1 | 1 | PASSED | Good | All indicators nominal
zs-storage03 | nvme19n1 | Dell Express Flash PM1725b 3.2TB SFF | 3.20 TB | 176 | 0 | 1 | 1 | PASSED | Good | All indicators nominal
zs-storage03 | nvme20n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 256 | 0.03 | 0.97 | 0.99 | PASSED | Good | All indicators nominal
zs-storage03 | nvme21n1 | Dell Express Flash PM1725b 3.2TB SFF | 3.20 TB | 164 | 0 | 1 | 1 | PASSED | Good | All indicators nominal
zs-storage03 | nvme22n1 | Dell Express Flash PM1725b 3.2TB SFF | 3.20 TB | 174 | 0 | 1 | 1 | PASSED | Good | All indicators nominal
zs-storage03 | nvme23n1 | Dell Express Flash PM1725b 3.2TB SFF | 3.20 TB | 160 | 0 | 1 | 1 | PASSED | Good | All indicators nominal
zs-storage04 | nvme0n1 | Dell Express Flash PM1725b 3.2TB SFF | 3.20 TB | 233 | 0 | 1 | 1 | PASSED | Good | All indicators nominal
zs-storage04 | nvme1n1 | Dell Express Flash PM1725b 3.2TB SFF | 3.20 TB | 215 | 0.01 | 0.99 | 1 | PASSED | Good | All indicators nominal
zs-storage04 | nvme2n1 | Dell Express Flash PM1725b 3.2TB SFF | 3.20 TB | 200 | 0 | 1 | 1 | PASSED | Good | All indicators nominal
zs-storage04 | nvme3n1 | Dell Express Flash PM1725b 3.2TB SFF | 3.20 TB | 200 | 0 | 1 | 1 | PASSED | Good | All indicators nominal
zs-storage04 | nvme4n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 406 | 0.03 | 0.97 | 1 | PASSED | Good | All indicators nominal
zs-storage04 | nvme5n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 389 | 0.02 | 0.98 | 0.99 | PASSED | Good | All indicators nominal
zs-storage04 | nvme6n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 503 | 0.04 | 0.96 | 1 | PASSED | Good | All indicators nominal
zs-storage04 | nvme7n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 466 | 0.04 | 0.96 | 0.99 | PASSED | Good | All indicators nominal
zs-storage04 | nvme8n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 414 | 0.03 | 0.97 | 1 | PASSED | Good | All indicators nominal
zs-storage04 | nvme9n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 181 | 0.01 | 0.99 | 0.99 | PASSED | Good | All indicators nominal
zs-storage04 | nvme10n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 443 | 0.03 | 0.97 | 0.99 | PASSED | Good | All indicators nominal
zs-storage04 | nvme11n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 426 | 0.03 | 0.97 | 1 | PASSED | Good | All indicators nominal
zs-storage04 | nvme12n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 207 | 0.01 | 0.99 | 1 | PASSED | Good | All indicators nominal
zs-storage04 | nvme13n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 406 | 0.03 | 0.97 | 0.99 | PASSED | Good | All indicators nominal
zs-storage04 | nvme14n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 454 | 0.03 | 0.97 | 0.99 | PASSED | Good | All indicators nominal
zs-storage04 | nvme15n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 499 | 0.04 | 0.96 | 0.99 | PASSED | Good | All indicators nominal
zs-storage04 | nvme16n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 533 | 0.04 | 0.96 | 1 | PASSED | Good | All indicators nominal
zs-storage04 | nvme17n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 432 | 0.03 | 0.97 | 1 | PASSED | Good | All indicators nominal
zs-storage04 | nvme18n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 487 | 0.03 | 0.97 | 0.99 | PASSED | Good | All indicators nominal
zs-storage04 | nvme19n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 441 | 0.03 | 0.97 | 1 | PASSED | Good | All indicators nominal
zs-storage04 | nvme20n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 26.7 | 0 | 1 | 1 | PASSED | Good | All indicators nominal
zs-storage04 | nvme21n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 440 | 0.03 | 0.97 | 0.99 | PASSED | Good | All indicators nominal
zs-storage04 | nvme22n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 455 | 0.03 | 0.97 | 0.99 | PASSED | Good | All indicators nominal
zs-storage04 | nvme23n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 433 | 0.03 | 0.97 | 1 | PASSED | Good | All indicators nominal
zs-storage05 | nvme0n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 554 | 0.04 | 0.96 | 0.99 | PASSED | Good | All indicators nominal
zs-storage05 | nvme1n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 438 | 0.03 | 0.97 | 0.99 | PASSED | Good | All indicators nominal
zs-storage05 | nvme2n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 421 | 0.03 | 0.97 | 1 | PASSED | Good | All indicators nominal
zs-storage05 | nvme3n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 487 | 0.04 | 0.96 | 1 | PASSED | Good | All indicators nominal
zs-storage05 | nvme4n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 488 | 0.04 | 0.96 | 1 | PASSED | Good | All indicators nominal
zs-storage05 | nvme5n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 421 | 0.03 | 0.97 | 1 | PASSED | Good | All indicators nominal
zs-storage05 | nvme6n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 468 | 0.04 | 0.96 | 1 | PASSED | Good | All indicators nominal
zs-storage05 | nvme7n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 421 | 0.03 | 0.97 | 0.99 | PASSED | Good | All indicators nominal
zs-storage05 | nvme8n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 194 | 0.01 | 0.99 | 1 | PASSED | Good | All indicators nominal
zs-storage05 | nvme9n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 420 | 0.03 | 0.97 | 1 | PASSED | Good | All indicators nominal
zs-storage05 | nvme10n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 445 | 0.03 | 0.97 | 0.99 | PASSED | Good | All indicators nominal
zs-storage05 | nvme11n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 461 | 0.03 | 0.97 | 0.99 | PASSED | Good | All indicators nominal
zs-storage05 | nvme12n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 489 | 0.04 | 0.96 | 1 | PASSED | Good | All indicators nominal
zs-storage05 | nvme13n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 211 | 0.01 | 0.99 | 1 | PASSED | Good | All indicators nominal
zs-storage05 | nvme14n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 338 | 0.01 | 0.99 | 1 | PASSED | Good | All indicators nominal
zs-storage05 | nvme15n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 424 | 0.03 | 0.97 | 0.99 | PASSED | Good | All indicators nominal
zs-storage05 | nvme16n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 217 | 0.01 | 0.99 | 1 | PASSED | Good | All indicators nominal
zs-storage05 | nvme17n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 443 | 0.03 | 0.97 | 1 | PASSED | Good | All indicators nominal
zs-storage05 | nvme18n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 475 | 0.04 | 0.96 | 1 | PASSED | Good | All indicators nominal
zs-storage05 | nvme19n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 193 | 0.01 | 0.99 | 1 | PASSED | Good | All indicators nominal
zs-storage05 | nvme20n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 283 | 0.03 | 0.97 | 1 | PASSED | Good | All indicators nominal
zs-storage05 | nvme21n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 486 | 0.04 | 0.96 | 0.99 | PASSED | Good | All indicators nominal
zs-storage05 | nvme22n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 186 | 0.01 | 0.99 | 1 | PASSED | Good | All indicators nominal
zs-storage05 | nvme23n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 488 | 0.04 | 0.96 | 1 | PASSED | Good | All indicators nominal
zs-storage06 | nvme0n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 244 | 0 | 1 | 0.99 | PASSED | Good | All indicators nominal
zs-storage06 | nvme1n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 204 | 0 | 1 | 1 | PASSED | Good | All indicators nominal
zs-storage06 | nvme2n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 202 | 0 | 1 | 1 | PASSED | Good | All indicators nominal
zs-storage06 | nvme3n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 230 | 0 | 1 | 1 | PASSED | Good | All indicators nominal
zs-storage06 | nvme4n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 211 | 0.01 | 0.99 | 0.99 | PASSED | Good | All indicators nominal
zs-storage06 | nvme5n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 193 | 0 | 1 | 1 | PASSED | Good | All indicators nominal
zs-storage06 | nvme6n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 250 | 0 | 1 | 0.99 | PASSED | Good | All indicators nominal
zs-storage06 | nvme7n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 227 | 0 | 1 | 0.99 | PASSED | Good | All indicators nominal
zs-storage06 | nvme8n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 246 | 0 | 1 | 0.99 | PASSED | Good | All indicators nominal
zs-storage06 | nvme9n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 166 | 0 | 1 | 1 | PASSED | Good | All indicators nominal
zs-storage06 | nvme10n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 193 | 0 | 1 | 1 | PASSED | Good | All indicators nominal
zs-storage06 | nvme11n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 218 | 0 | 1 | 1 | PASSED | Good | All indicators nominal
zs-storage06 | nvme12n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 252 | 0 | 1 | 0.99 | PASSED | Good | All indicators nominal
zs-storage06 | nvme13n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 251 | 0 | 1 | 0.99 | PASSED | Good | All indicators nominal
zs-storage06 | nvme14n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 242 | 0 | 1 | 0.99 | PASSED | Good | All indicators nominal
zs-storage06 | nvme15n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 209 | 0 | 1 | 0.99 | PASSED | Good | All indicators nominal
zs-storage06 | nvme16n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 231 | 0 | 1 | 1 | PASSED | Good | All indicators nominal
zs-storage06 | nvme17n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 239 | 0 | 1 | 1 | PASSED | Good | All indicators nominal
zs-storage06 | nvme18n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 202 | 0 | 1 | 1 | PASSED | Good | All indicators nominal
zs-storage06 | nvme19n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 167 | 0 | 1 | 1 | PASSED | Good | All indicators nominal
zs-storage06 | nvme20n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 0.723 | 0 | 1 | 1 | PASSED | Good | All indicators nominal
zs-storage06 | nvme21n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 164 | 0 | 1 | 1 | PASSED | Good | All indicators nominal
zs-storage06 | nvme22n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 160 | 0 | 1 | 1 | PASSED | Good | All indicators nominal
zs-storage06 | nvme23n1 | Dell Express Flash NVMe P4610 3.2TB SFF | 3.20 TB | 157 | 0 | 1 | 0.99 | PASSED | Good | All indicators nominal

## Overview
Fleet Health Overview
NVMe SSD SMART assessment summary
Health Classification
Total NVMe drives assessed | 143
Good | 131
Warning | 12
Not good | 0
SMART Self-Assessment
PASSED | 143
FAILED | 0
Capacity Written (Fleet)
Total TBW across all drives | 52608.423
Average TBW per drive | 367.8911
Highest TBW on a single drive | 861
Drives by Model
Dell Ent NVMe CM6 MU 3.2TB | 3
Dell Express Flash NVMe P4610 3.2TB SFF | 116
Dell Express Flash NVMe SM1715 3.2TB SFF | 12
Dell Express Flash PM1725b 3.2TB SFF | 12
Drives by Host (Warnings)
Host | Drives | Warnings
zs-storage01 | 23 | 0
zs-storage02 | 24 | 10
zs-storage03 | 24 | 2
zs-storage04 | 24 | 0
zs-storage05 | 24 | 0
zs-storage06 | 24 | 0
Key Findings
All 143 drives PASSED the SMART overall-health self-assessment.
No critical warning flags, media errors, or data-integrity errors detected.
12 Samsung SM1715 drives flagged Warning: Available Spare has
dropped to 68-82% (vs. 99-100% on peer drives) - early NAND wear.
Endurance use remains low: max 4% used on the most-written drives.
Action: monitor the SM1715 drives; plan replacement if spare keeps falling.

## Full Details
Hostname | NVME Device | Model Number | Serial Number | Firmware | Capacity | TBW | Data Read | Endurance Used | Available Spare | Available Spare Threshold | Power On Hours | Temperature | Critical Warning | Media/Data Errors | Error Log Entries | Unsafe Shutdowns | Disk Health | Summary
zs-storage01 | nvme0n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN042101FD3P2BGN | VDV1DP23 | 3.20 TB | 528 TB | 341 TB | 4% | 99% | 10% | 30709 | 30 Celsius | 0x00 | 0 | 0 | 78 | PASSED | Good
zs-storage01 | nvme1n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN035201QN3P2BGN | VDV1DP23 | 3.20 TB | 429 TB | 245 TB | 3% | 100% | 10% | 30701 | 30 Celsius | 0x00 | 0 | 0 | 49 | PASSED | Good
zs-storage01 | nvme2n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN043400GT3P2BGN | VDV1DP23 | 3.20 TB | 459 TB | 261 TB | 3% | 99% | 10% | 30699 | 30 Celsius | 0x00 | 0 | 0 | 60 | PASSED | Good
zs-storage01 | nvme3n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN0433009R3P2BGN | VDV1DP23 | 3.20 TB | 459 TB | 229 TB | 3% | 99% | 10% | 30706 | 30 Celsius | 0x00 | 0 | 0 | 55 | PASSED | Good
zs-storage01 | nvme4n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN043300D63P2BGN | VDV1DP23 | 3.20 TB | 524 TB | 276 TB | 4% | 99% | 10% | 30694 | 30 Celsius | 0x00 | 0 | 0 | 54 | PASSED | Good
zs-storage01 | nvme5n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN035200853P2BGN | VDV1DP23 | 3.20 TB | 492 TB | 271 TB | 4% | 100% | 10% | 30727 | 30 Celsius | 0x00 | 0 | 0 | 59 | PASSED | Good
zs-storage01 | nvme6n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN035200843P2BGN | VDV1DP23 | 3.20 TB | 444 TB | 274 TB | 3% | 100% | 10% | 30729 | 30 Celsius | 0x00 | 0 | 0 | 52 | PASSED | Good
zs-storage01 | nvme7n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN043401M73P2BGN | VDV1DP23 | 3.20 TB | 471 TB | 200 TB | 3% | 100% | 10% | 30696 | 30 Celsius | 0x00 | 0 | 0 | 54 | PASSED | Good
zs-storage01 | nvme8n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN0434013T3P2BGN | VDV1DP23 | 3.20 TB | 413 TB | 188 TB | 3% | 100% | 10% | 30710 | 33 Celsius | 0x00 | 0 | 0 | 63 | PASSED | Good
zs-storage01 | nvme9n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN042101JH3P2BGN | VDV1DP23 | 3.20 TB | 403 TB | 223 TB | 3% | 100% | 10% | 30705 | 31 Celsius | 0x00 | 0 | 0 | 53 | PASSED | Good
zs-storage01 | nvme10n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN043400YP3P2BGN | VDV1DP23 | 3.20 TB | 489 TB | 237 TB | 3% | 100% | 10% | 30719 | 30 Celsius | 0x00 | 0 | 0 | 113 | PASSED | Good
zs-storage01 | nvme11n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN035200QE3P2BGN | VDV1DP23 | 3.20 TB | 208 TB | 34.4 TB | 1% | 100% | 10% | 31138 | 30 Celsius | 0x00 | 0 | 0 | 36 | PASSED | Good
zs-storage01 | nvme12n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN034200093P2BGN | VDV1DP23 | 3.20 TB | 241 TB | 42.5 TB | 1% | 100% | 10% | 22493 | 30 Celsius | 0x00 | 0 | 0 | 82 | PASSED | Good
zs-storage01 | nvme13n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN042101F73P2BGN | VDV1DP23 | 3.20 TB | 365 TB | 113 TB | 2% | 99% | 10% | 30702 | 30 Celsius | 0x00 | 0 | 0 | 46 | PASSED | Good
zs-storage01 | nvme14n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN035200RY3P2BGN | VDV1DP23 | 3.20 TB | 472 TB | 270 TB | 4% | 99% | 10% | 30752 | 31 Celsius | 0x00 | 0 | 0 | 63 | PASSED | Good
zs-storage01 | nvme15n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN0421011C3P2BGN | VDV1DP23 | 3.20 TB | 443 TB | 232 TB | 3% | 100% | 10% | 30705 | 35 Celsius | 0x00 | 0 | 0 | 54 | PASSED | Good
zs-storage01 | nvme16n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN042101GB3P2BGN | VDV1DP23 | 3.20 TB | 493 TB | 203 TB | 4% | 100% | 10% | 30711 | 30 Celsius | 0x00 | 0 | 0 | 73 | PASSED | Good
zs-storage01 | nvme17n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN043401LQ3P2BGN | VDV1DP23 | 3.20 TB | 468 TB | 252 TB | 3% | 99% | 10% | 30699 | 30 Celsius | 0x00 | 0 | 0 | 56 | PASSED | Good
zs-storage01 | nvme19n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN0352017Q3P2BGN | VDV1DP23 | 3.20 TB | 437 TB | 257 TB | 3% | 100% | 10% | 30699 | 30 Celsius | 0x00 | 0 | 0 | 48 | PASSED | Good
zs-storage01 | nvme20n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN035200QD3P2BGN | VDV1DP23 | 3.20 TB | 282 TB | 238 TB | 3% | 100% | 10% | 30699 | 30 Celsius | 0x00 | 0 | 0 | 48 | PASSED | Good
zs-storage01 | nvme21n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN0352017B3P2BGN | VDV1DP23 | 3.20 TB | 506 TB | 258 TB | 4% | 100% | 10% | 30746 | 30 Celsius | 0x00 | 0 | 0 | 57 | PASSED | Good
zs-storage01 | nvme22n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN027400WH3P2BGN | VDV1DP23 | 3.20 TB | 458 TB | 249 TB | 3% | 99% | 10% | 30728 | 30 Celsius | 0x00 | 0 | 0 | 118 | PASSED | Good
zs-storage01 | nvme23n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN0341001D3P2BGN | VDV1DP23 | 3.20 TB | 194 TB | 40.6 TB | 1% | 100% | 10% | 22487 | 30 Celsius | 0x00 | 0 | 0 | 86 | PASSED | Good
zs-storage02 | nvme0n1 | Dell Express Flash NVMe SM1715 3.2TB SFF | S294NYAH500182 | IPV0AD3Q | 3.20 TB | 731 TB | 238 TB | 0% | 78% | 10% | 54443 | 32 Celsius | 0x00 | 0 | 0 | 16 | PASSED | Warning
zs-storage02 | nvme1n1 | Dell Express Flash NVMe SM1715 3.2TB SFF | S294NYAGC00325 | IPV0AD3Q | 3.20 TB | 254 TB | 32.5 TB | 0% | 78% | 10% | 57409 | 32 Celsius | 0x00 | 0 | 0 | 8 | PASSED | Warning
zs-storage02 | nvme2n1 | Dell Express Flash NVMe SM1715 3.2TB SFF | S294NYAH500174 | IPV0AD3Q | 3.20 TB | 741 TB | 315 TB | 0% | 80% | 10% | 54261 | 32 Celsius | 0x00 | 0 | 0 | 5 | PASSED | Warning
zs-storage02 | nvme3n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN035204Q43P2BGN | VDV1DP23 | 3.20 TB | 494 TB | 235 TB | 4% | 100% | 10% | 30823 | 30 Celsius | 0x00 | 0 | 0 | 61 | PASSED | Good
zs-storage02 | nvme4n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN042102093P2BGN | VDV1DP23 | 3.20 TB | 518 TB | 231 TB | 4% | 99% | 10% | 30127 | 30 Celsius | 0x00 | 0 | 0 | 43 | PASSED | Good
zs-storage02 | nvme5n1 | Dell Express Flash NVMe SM1715 3.2TB SFF | S294NYAG900027 | IPV0AD3Q | 3.20 TB | 769 TB | 418 TB | 0% | 81% | 10% | 61847 | 32 Celsius | 0x00 | 0 | 0 | 9 | PASSED | Warning
zs-storage02 | nvme6n1 | Dell Express Flash NVMe SM1715 3.2TB SFF | S294NYAG200087 | IPV0AD3Q | 3.20 TB | 861 TB | 405 TB | 0% | 78% | 10% | 61850 | 32 Celsius | 0x00 | 0 | 0 | 15 | PASSED | Warning
zs-storage02 | nvme7n1 | Dell Express Flash NVMe SM1715 3.2TB SFF | S294NYAG900023 | IPV0AD3Q | 3.20 TB | 784 TB | 350 TB | 0% | 82% | 10% | 61845 | 33 Celsius | 0x00 | 0 | 0 | 7 | PASSED | Warning
zs-storage02 | nvme8n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN0421010F3P2BGN | VDV1DP23 | 3.20 TB | 209 TB | 33.4 TB | 1% | 99% | 10% | 30567 | 33 Celsius | 0x00 | 0 | 0 | 20 | PASSED | Good
zs-storage02 | nvme9n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN035202U23P2BGN | VDV1DP23 | 3.20 TB | 157 TB | 26.4 TB | 0% | 100% | 10% | 30893 | 31 Celsius | 0x00 | 0 | 0 | 44 | PASSED | Good
zs-storage02 | nvme10n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN042102D63P2BGN | VDV1DP23 | 3.20 TB | 504 TB | 246 TB | 4% | 100% | 10% | 32386 | 30 Celsius | 0x00 | 0 | 0 | 131 | PASSED | Good
zs-storage02 | nvme11n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN0421021F3P2BGN | VDV1DP23 | 3.20 TB | 578 TB | 359 TB | 4% | 100% | 10% | 32382 | 30 Celsius | 0x00 | 0 | 0 | 152 | PASSED | Good
zs-storage02 | nvme12n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN042102V13P2BGN | VDV1DP23 | 3.20 TB | 523 TB | 195 TB | 4% | 100% | 10% | 30126 | 30 Celsius | 0x00 | 0 | 0 | 40 | PASSED | Good
zs-storage02 | nvme13n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN035201P73P2BGN | VDV1DP23 | 3.20 TB | 423 TB | 216 TB | 3% | 100% | 10% | 30919 | 30 Celsius | 0x00 | 0 | 0 | 67 | PASSED | Good
zs-storage02 | nvme14n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN035200GS3P2BGN | VDV1DP23 | 3.20 TB | 445 TB | 231 TB | 3% | 100% | 10% | 30834 | 31 Celsius | 0x00 | 0 | 0 | 74 | PASSED | Good
zs-storage02 | nvme15n1 | Dell Express Flash NVMe SM1715 3.2TB SFF | S294NY0HC00867 | IPV0AD3Q | 3.20 TB | 463 TB | 329 TB | 0% | 80% | 10% | 47336 | 35 Celsius | 0x00 | 0 | 0 | 6 | PASSED | Warning
zs-storage02 | nvme16n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN0421020Z3P2BGN | VDV1DP23 | 3.20 TB | 361 TB | 85.6 TB | 2% | 100% | 10% | 32321 | 30 Celsius | 0x00 | 0 | 0 | 72 | PASSED | Good
zs-storage02 | nvme17n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN042101PC3P2BGN | VDV1DP23 | 3.20 TB | 505 TB | 183 TB | 4% | 100% | 10% | 30176 | 30 Celsius | 0x00 | 0 | 0 | 47 | PASSED | Good
zs-storage02 | nvme18n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN042103AD3P2BGN | VDV1DP23 | 3.20 TB | 469 TB | 180 TB | 3% | 99% | 10% | 30128 | 30 Celsius | 0x00 | 0 | 0 | 45 | PASSED | Good
zs-storage02 | nvme19n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN035202D23P2BGN | VDV1DP23 | 3.20 TB | 329 TB | 136 TB | 2% | 100% | 10% | 30833 | 30 Celsius | 0x00 | 0 | 0 | 71 | PASSED | Good
zs-storage02 | nvme20n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN042101KJ3P2BGN | VDV1DP23 | 3.20 TB | 423 TB | 223 TB | 4% | 100% | 10% | 32348 | 30 Celsius | 0x00 | 0 | 0 | 152 | PASSED | Good
zs-storage02 | nvme21n1 | Dell Express Flash NVMe SM1715 3.2TB SFF | S294NY0HC00869 | IPV0AD3Q | 3.20 TB | 417 TB | 321 TB | 0% | 77% | 10% | 47315 | 32 Celsius | 0x00 | 0 | 0 | 13 | PASSED | Warning
zs-storage02 | nvme22n1 | Dell Express Flash NVMe SM1715 3.2TB SFF | S294NY0HB00118 | IPV0AD3Q | 3.20 TB | 591 TB | 97.0 TB | 0% | 73% | 10% | 46523 | 32 Celsius | 0x00 | 0 | 0 | 5 | PASSED | Warning
zs-storage02 | nvme23n1 | Dell Express Flash NVMe SM1715 3.2TB SFF | S294NYAH200512 | IPV0AD3Q | 3.20 TB | 644 TB | 211 TB | 0% | 77% | 10% | 54255 | 33 Celsius | 0x00 | 0 | 0 | 4 | PASSED | Warning
zs-storage03 | nvme0n1 | Dell Ent NVMe CM6 MU 3.2TB | XDP0A3KK0ND3 | 2.2.1 | 3.20 TB | 210 TB | 32.2 TB | 1% | 100% | 10% | 13628 | 34 Celsius | 0x00 | 0 | 54 | 35 | PASSED | Good
zs-storage03 | nvme1n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN035202TZ3P2BGN | VDV1DP23 | 3.20 TB | 433 TB | 259 TB | 3% | 99% | 10% | 30843 | 30 Celsius | 0x00 | 0 | 0 | 65 | PASSED | Good
zs-storage03 | nvme2n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN035201QM3P2BGN | VDV1DP23 | 3.20 TB | 215 TB | 361 TB | 1% | 100% | 10% | 31138 | 30 Celsius | 0x00 | 0 | 0 | 33 | PASSED | Good
zs-storage03 | nvme3n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN0376005Y3P2BGN | VDV1DP23 | 3.20 TB | 447 TB | 274 TB | 3% | 100% | 10% | 30729 | 30 Celsius | 0x00 | 0 | 0 | 115 | PASSED | Good
zs-storage03 | nvme4n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN035202FG3P2BGN | VDV1DP23 | 3.20 TB | 371 TB | 167 TB | 2% | 100% | 10% | 31001 | 30 Celsius | 0x00 | 0 | 0 | 71 | PASSED | Good
zs-storage03 | nvme5n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN0421010E3P2BGN | VDV1DP23 | 3.20 TB | 388 TB | 169 TB | 2% | 100% | 10% | 30154 | 30 Celsius | 0x00 | 0 | 0 | 55 | PASSED | Good
zs-storage03 | nvme6n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN042101KY3P2BGN | VDV1DP23 | 3.20 TB | 569 TB | 354 TB | 4% | 100% | 10% | 32358 | 30 Celsius | 0x00 | 0 | 0 | 155 | PASSED | Good
zs-storage03 | nvme7n1 | Dell Ent NVMe CM6 MU 3.2TB | XDP0A3KJ0ND3 | 2.2.1 | 3.20 TB | 198 TB | 32.4 TB | 1% | 100% | 10% | 13614 | 34 Celsius | 0x00 | 0 | 54 | 34 | PASSED | Good
zs-storage03 | nvme8n1 | Dell Express Flash NVMe SM1715 3.2TB SFF | S294NYAGC00386 | IPV0AD3Q | 3.20 TB | 256 TB | 32.1 TB | 0% | 68% | 10% | 57608 | 35 Celsius | 0x00 | 0 | 0 | 2 | PASSED | Warning
zs-storage03 | nvme9n1 | Dell Express Flash NVMe SM1715 3.2TB SFF | S294NY0HC00175 | IPV0AD3Q | 3.20 TB | 670 TB | 192 TB | 0% | 75% | 10% | 47931 | 33 Celsius | 0x00 | 0 | 0 | 15 | PASSED | Warning
zs-storage03 | nvme10n1 | Dell Ent NVMe CM6 MU 3.2TB | XDP0A3LK0ND3 | 2.2.1 | 3.20 TB | 196 TB | 33.4 TB | 1% | 100% | 10% | 13612 | 34 Celsius | 0x00 | 0 | 52 | 33 | PASSED | Good
zs-storage03 | nvme11n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN042102143P2BGN | VDV1DP23 | 3.20 TB | 347 TB | 111 TB | 2% | 99% | 10% | 32335 | 30 Celsius | 0x00 | 0 | 0 | 58 | PASSED | Good
zs-storage03 | nvme12n1 | Dell Express Flash PM1725b 3.2TB SFF | S5CXNA0R100132 | 1.2.1 | 3.20 TB | 221 TB | 36.2 TB | 0% | 100% | 10% | 28167 | 28 Celsius | 0x00 | 0 | 0 | 47 | PASSED | Good
zs-storage03 | nvme13n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN042101FQ3P2BGN | VDV1DP23 | 3.20 TB | 443 TB | 229 TB | 3% | 100% | 10% | 30711 | 31 Celsius | 0x00 | 0 | 0 | 74 | PASSED | Good
zs-storage03 | nvme14n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN043300983P2BGN | VDV1DP23 | 3.20 TB | 473 TB | 228 TB | 3% | 100% | 10% | 30595 | 31 Celsius | 0x00 | 0 | 0 | 39 | PASSED | Good
zs-storage03 | nvme15n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN035202773P2BGN | VDV1DP23 | 3.20 TB | 524 TB | 257 TB | 4% | 99% | 10% | 30697 | 34 Celsius | 0x00 | 0 | 0 | 50 | PASSED | Good
zs-storage03 | nvme16n1 | Dell Express Flash PM1725b 3.2TB SFF | S5CXNA0R100043 | 1.2.1 | 3.20 TB | 225 TB | 37.7 TB | 0% | 100% | 10% | 28167 | 27 Celsius | 0x00 | 0 | 0 | 45 | PASSED | Good
zs-storage03 | nvme17n1 | Dell Express Flash PM1725b 3.2TB SFF | S5CXNA0R100067 | 1.2.1 | 3.20 TB | 208 TB | 36.7 TB | 0% | 100% | 10% | 28167 | 28 Celsius | 0x00 | 0 | 0 | 43 | PASSED | Good
zs-storage03 | nvme18n1 | Dell Express Flash PM1725b 3.2TB SFF | S5CXNA0R100051 | 1.2.1 | 3.20 TB | 214 TB | 35.2 TB | 0% | 100% | 10% | 28167 | 27 Celsius | 0x00 | 0 | 0 | 45 | PASSED | Good
zs-storage03 | nvme19n1 | Dell Express Flash PM1725b 3.2TB SFF | S5CXNA0R100065 | 1.2.1 | 3.20 TB | 176 TB | 32.6 TB | 0% | 100% | 10% | 28167 | 28 Celsius | 0x00 | 0 | 0 | 43 | PASSED | Good
zs-storage03 | nvme20n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN043400UR3P2BGN | VDV1DP23 | 3.20 TB | 256 TB | 208 TB | 3% | 99% | 10% | 30682 | 30 Celsius | 0x00 | 0 | 0 | 46 | PASSED | Good
zs-storage03 | nvme21n1 | Dell Express Flash PM1725b 3.2TB SFF | S5CXNA0R100073 | 1.2.1 | 3.20 TB | 164 TB | 32.2 TB | 0% | 100% | 10% | 28165 | 28 Celsius | 0x00 | 0 | 0 | 43 | PASSED | Good
zs-storage03 | nvme22n1 | Dell Express Flash PM1725b 3.2TB SFF | S5CXNA0R100030 | 1.2.1 | 3.20 TB | 174 TB | 33.5 TB | 0% | 100% | 10% | 28171 | 28 Celsius | 0x00 | 0 | 0 | 61 | PASSED | Good
zs-storage03 | nvme23n1 | Dell Express Flash PM1725b 3.2TB SFF | S5CXNA0R100170 | 1.2.1 | 3.20 TB | 160 TB | 30.2 TB | 0% | 100% | 10% | 28165 | 28 Celsius | 0x00 | 0 | 0 | 39 | PASSED | Good
zs-storage04 | nvme0n1 | Dell Express Flash PM1725b 3.2TB SFF | S5CXNA0R100052 | 1.2.1 | 3.20 TB | 233 TB | 37.8 TB | 0% | 100% | 10% | 28170 | 28 Celsius | 0x00 | 0 | 0 | 57 | PASSED | Good
zs-storage04 | nvme1n1 | Dell Express Flash PM1725b 3.2TB SFF | S5CXNA0R100061 | 1.2.1 | 3.20 TB | 215 TB | 36.7 TB | 1% | 100% | 10% | 28170 | 28 Celsius | 0x00 | 0 | 0 | 61 | PASSED | Good
zs-storage04 | nvme2n1 | Dell Express Flash PM1725b 3.2TB SFF | S5CXNA0R100129 | 1.2.1 | 3.20 TB | 200 TB | 33.7 TB | 0% | 100% | 10% | 28164 | 28 Celsius | 0x00 | 0 | 0 | 43 | PASSED | Good
zs-storage04 | nvme3n1 | Dell Express Flash PM1725b 3.2TB SFF | S5CXNA0R100039 | 1.2.1 | 3.20 TB | 200 TB | 35.3 TB | 0% | 100% | 10% | 28170 | 28 Celsius | 0x00 | 0 | 0 | 57 | PASSED | Good
zs-storage04 | nvme4n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN035200QM3P2BGN | VDV1DP23 | 3.20 TB | 406 TB | 162 TB | 3% | 100% | 10% | 30699 | 31 Celsius | 0x00 | 0 | 0 | 41 | PASSED | Good
zs-storage04 | nvme5n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN0341001N3P2BGN | VDV1DP23 | 3.20 TB | 389 TB | 172 TB | 2% | 99% | 10% | 30773 | 31 Celsius | 0x00 | 0 | 0 | 60 | PASSED | Good
zs-storage04 | nvme6n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN042101BD3P2BGN | VDV1DP23 | 3.20 TB | 503 TB | 329 TB | 4% | 100% | 10% | 30701 | 31 Celsius | 0x00 | 0 | 0 | 46 | PASSED | Good
zs-storage04 | nvme7n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN0421011J3P2BGN | VDV1DP23 | 3.20 TB | 466 TB | 239 TB | 4% | 99% | 10% | 30717 | 31 Celsius | 0x00 | 0 | 0 | 60 | PASSED | Good
zs-storage04 | nvme8n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN042101H63P2BGN | VDV1DP23 | 3.20 TB | 414 TB | 181 TB | 3% | 100% | 10% | 30719 | 34 Celsius | 0x00 | 0 | 0 | 60 | PASSED | Good
zs-storage04 | nvme9n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN042101EY3P2BGN | VDV1DP23 | 3.20 TB | 181 TB | 355 TB | 1% | 99% | 10% | 31136 | 31 Celsius | 0x00 | 0 | 0 | 33 | PASSED | Good
zs-storage04 | nvme10n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN043401EN3P2BGN | VDV1DP23 | 3.20 TB | 443 TB | 208 TB | 3% | 99% | 10% | 30594 | 31 Celsius | 0x00 | 0 | 0 | 43 | PASSED | Good
zs-storage04 | nvme11n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN027400WF3P2BGN | VDV1DP23 | 3.20 TB | 426 TB | 198 TB | 3% | 100% | 10% | 30729 | 31 Celsius | 0x00 | 0 | 0 | 115 | PASSED | Good
zs-storage04 | nvme12n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN042101HD3P2BGN | VDV1DP23 | 3.20 TB | 207 TB | 33.1 TB | 1% | 100% | 10% | 31138 | 31 Celsius | 0x00 | 0 | 0 | 37 | PASSED | Good
zs-storage04 | nvme13n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN042101H83P2BGN | VDV1DP23 | 3.20 TB | 406 TB | 200 TB | 3% | 99% | 10% | 30705 | 31 Celsius | 0x00 | 0 | 0 | 50 | PASSED | Good
zs-storage04 | nvme14n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN0434013U3P2BGN | VDV1DP23 | 3.20 TB | 454 TB | 199 TB | 3% | 99% | 10% | 30727 | 31 Celsius | 0x00 | 0 | 0 | 110 | PASSED | Good
zs-storage04 | nvme15n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN035204Q63P2BGN | VDV1DP23 | 3.20 TB | 499 TB | 343 TB | 4% | 99% | 10% | 30696 | 34 Celsius | 0x00 | 0 | 0 | 50 | PASSED | Good
zs-storage04 | nvme16n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN0342000V3P2BGN | VDV1DP23 | 3.20 TB | 533 TB | 258 TB | 4% | 100% | 10% | 30769 | 31 Celsius | 0x00 | 0 | 0 | 60 | PASSED | Good
zs-storage04 | nvme17n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN043400QV3P2BGN | VDV1DP23 | 3.20 TB | 432 TB | 224 TB | 3% | 100% | 10% | 30699 | 31 Celsius | 0x00 | 0 | 0 | 57 | PASSED | Good
zs-storage04 | nvme18n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN0434013S3P2BGN | VDV1DP23 | 3.20 TB | 487 TB | 255 TB | 3% | 99% | 10% | 30717 | 31 Celsius | 0x00 | 0 | 0 | 106 | PASSED | Good
zs-storage04 | nvme19n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN0352012L3P2BGN | VDV1DP23 | 3.20 TB | 441 TB | 230 TB | 3% | 100% | 10% | 30745 | 31 Celsius | 0x00 | 0 | 0 | 54 | PASSED | Good
zs-storage04 | nvme20n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN034100213P2BGN | VDV1DP23 | 3.20 TB | 26.7 TB | 7.44 TB | 0% | 100% | 10% | 22511 | 31 Celsius | 0x00 | 0 | 0 | 83 | PASSED | Good
zs-storage04 | nvme21n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN043400YL3P2BGN | VDV1DP23 | 3.20 TB | 440 TB | 289 TB | 3% | 99% | 10% | 30706 | 31 Celsius | 0x00 | 0 | 0 | 60 | PASSED | Good
zs-storage04 | nvme22n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN0434028K3P2BGN | VDV1DP23 | 3.20 TB | 455 TB | 264 TB | 3% | 99% | 10% | 30703 | 31 Celsius | 0x00 | 0 | 0 | 52 | PASSED | Good
zs-storage04 | nvme23n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN0352017J3P2BGN | VDV1DP23 | 3.20 TB | 433 TB | 246 TB | 3% | 100% | 10% | 30745 | 31 Celsius | 0x00 | 0 | 0 | 49 | PASSED | Good
zs-storage05 | nvme0n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN035200RK3P2BGN | VDV1DP23 | 3.20 TB | 554 TB | 324 TB | 4% | 99% | 10% | 30742 | 31 Celsius | 0x00 | 0 | 0 | 57 | PASSED | Good
zs-storage05 | nvme1n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN042101FR3P2BGN | VDV1DP23 | 3.20 TB | 438 TB | 259 TB | 3% | 99% | 10% | 30696 | 31 Celsius | 0x00 | 0 | 0 | 48 | PASSED | Good
zs-storage05 | nvme2n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN042101KC3P2BGN | VDV1DP23 | 3.20 TB | 421 TB | 238 TB | 3% | 100% | 10% | 30709 | 31 Celsius | 0x00 | 0 | 0 | 77 | PASSED | Good
zs-storage05 | nvme3n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN034200013P2BGN | VDV1DP23 | 3.20 TB | 487 TB | 245 TB | 4% | 100% | 10% | 30768 | 31 Celsius | 0x00 | 0 | 0 | 59 | PASSED | Good
zs-storage05 | nvme4n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN027400W33P2BGN | VDV1DP23 | 3.20 TB | 488 TB | 232 TB | 4% | 100% | 10% | 30701 | 31 Celsius | 0x00 | 0 | 0 | 50 | PASSED | Good
zs-storage05 | nvme5n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN043401VX3P2BGN | VDV1DP23 | 3.20 TB | 421 TB | 186 TB | 3% | 100% | 10% | 30707 | 31 Celsius | 0x00 | 0 | 0 | 59 | PASSED | Good
zs-storage05 | nvme6n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN042101JV3P2BGN | VDV1DP23 | 3.20 TB | 468 TB | 245 TB | 4% | 100% | 10% | 30695 | 31 Celsius | 0x00 | 0 | 0 | 46 | PASSED | Good
zs-storage05 | nvme7n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN042101KV3P2BGN | VDV1DP23 | 3.20 TB | 421 TB | 190 TB | 3% | 99% | 10% | 30717 | 31 Celsius | 0x00 | 0 | 0 | 59 | PASSED | Good
zs-storage05 | nvme8n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN042101A13P2BGN | VDV1DP23 | 3.20 TB | 194 TB | 30.3 TB | 1% | 100% | 10% | 31136 | 34 Celsius | 0x00 | 0 | 0 | 40 | PASSED | Good
zs-storage05 | nvme9n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN043400US3P2BGN | VDV1DP23 | 3.20 TB | 420 TB | 229 TB | 3% | 100% | 10% | 30716 | 31 Celsius | 0x00 | 0 | 0 | 113 | PASSED | Good
zs-storage05 | nvme10n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN037600133P2BGN | VDV1DP23 | 3.20 TB | 445 TB | 249 TB | 3% | 99% | 10% | 30697 | 31 Celsius | 0x00 | 0 | 0 | 60 | PASSED | Good
zs-storage05 | nvme11n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN042101FW3P2BGN | VDV1DP23 | 3.20 TB | 461 TB | 217 TB | 3% | 99% | 10% | 30716 | 31 Celsius | 0x00 | 0 | 0 | 63 | PASSED | Good
zs-storage05 | nvme12n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN043401DX3P2BGN | VDV1DP23 | 3.20 TB | 489 TB | 261 TB | 4% | 100% | 10% | 30691 | 31 Celsius | 0x00 | 0 | 0 | 47 | PASSED | Good
zs-storage05 | nvme13n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN042101BG3P2BGN | VDV1DP23 | 3.20 TB | 211 TB | 33.3 TB | 1% | 100% | 10% | 31136 | 31 Celsius | 0x00 | 0 | 0 | 40 | PASSED | Good
zs-storage05 | nvme14n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN042101L33P2BGN | VDV1DP23 | 3.20 TB | 338 TB | 37.5 TB | 1% | 100% | 10% | 31135 | 32 Celsius | 0x00 | 0 | 0 | 40 | PASSED | Good
zs-storage05 | nvme15n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN043401XL3P2BGN | VDV1DP23 | 3.20 TB | 424 TB | 180 TB | 3% | 99% | 10% | 30594 | 34 Celsius | 0x00 | 0 | 0 | 46 | PASSED | Good
zs-storage05 | nvme16n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN035201QS3P2BGN | VDV1DP23 | 3.20 TB | 217 TB | 34.3 TB | 1% | 100% | 10% | 31135 | 32 Celsius | 0x00 | 0 | 0 | 36 | PASSED | Good
zs-storage05 | nvme17n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN035200PQ3P2BGN | VDV1DP23 | 3.20 TB | 443 TB | 223 TB | 3% | 100% | 10% | 30722 | 31 Celsius | 0x00 | 0 | 0 | 56 | PASSED | Good
zs-storage05 | nvme18n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN0434028G3P2BGN | VDV1DP23 | 3.20 TB | 475 TB | 243 TB | 4% | 100% | 10% | 30705 | 31 Celsius | 0x00 | 0 | 0 | 63 | PASSED | Good
zs-storage05 | nvme19n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN0342001F3P2BGN | VDV1DP23 | 3.20 TB | 193 TB | 38.5 TB | 1% | 100% | 10% | 22488 | 32 Celsius | 0x00 | 0 | 0 | 83 | PASSED | Good
zs-storage05 | nvme20n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN0421019P3P2BGN | VDV1DP23 | 3.20 TB | 283 TB | 269 TB | 3% | 100% | 10% | 30694 | 31 Celsius | 0x00 | 0 | 0 | 46 | PASSED | Good
zs-storage05 | nvme21n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN043400LP3P2BGN | VDV1DP23 | 3.20 TB | 486 TB | 295 TB | 4% | 99% | 10% | 30690 | 31 Celsius | 0x00 | 0 | 0 | 54 | PASSED | Good
zs-storage05 | nvme22n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN231201DD3P2FGN | VDV1DP25 | 3.20 TB | 186 TB | 65.7 TB | 1% | 100% | 10% | 16426 | 31 Celsius | 0x00 | 0 | 0 | 24 | PASSED | Good
zs-storage05 | nvme23n1 | Dell Express Flash NVMe P4610 3.2TB SFF | PHLN042101GA3P2BGN | VDV1DP23 | 3.20 TB | 488 TB | 269 TB | 4% | 100% | 10% | 30694 | 32 Celsius | 0x00 | 0 | 0 | 42 | PASSED | Good
zs-storage06 | nvme0n1 | Dell Express Flash NVMe P4610 3.2TB SFF | BTLN919205WW3P2BGN | VDV1DP21 | 3.20 TB | 244 TB | 57.2 TB | 0% | 99% | 10% | 16864 | 31 Celsius | 0x00 | 0 | 0 | 31 | PASSED | Good
zs-storage06 | nvme1n1 | Dell Express Flash NVMe P4610 3.2TB SFF | BTLN905000LE3P2BGN | VDV1DP21 | 3.20 TB | 204 TB | 35.2 TB | 0% | 100% | 10% | 12548 | 30 Celsius | 0x00 | 0 | 0 | 37 | PASSED | Good
zs-storage06 | nvme2n1 | Dell Express Flash NVMe P4610 3.2TB SFF | BTLN905000R23P2BGN | VDV1DP21 | 3.20 TB | 202 TB | 33.4 TB | 0% | 100% | 10% | 12535 | 30 Celsius | 0x00 | 0 | 0 | 40 | PASSED | Good
zs-storage06 | nvme3n1 | Dell Express Flash NVMe P4610 3.2TB SFF | BTLN919208AK3P2BGN | VDV1DP21 | 3.20 TB | 230 TB | 58.5 TB | 0% | 100% | 10% | 16864 | 30 Celsius | 0x00 | 0 | 0 | 22 | PASSED | Good
zs-storage06 | nvme4n1 | Dell Express Flash NVMe P4610 3.2TB SFF | BTLN905000LS3P2BGN | VDV1DP21 | 3.20 TB | 211 TB | 33.1 TB | 1% | 99% | 10% | 12538 | 30 Celsius | 0x00 | 0 | 0 | 7 | PASSED | Good
zs-storage06 | nvme5n1 | Dell Express Flash NVMe P4610 3.2TB SFF | BTLN918600VD3P2BGN | VDV1DP21 | 3.20 TB | 193 TB | 34.0 TB | 0% | 100% | 10% | 12541 | 30 Celsius | 0x00 | 0 | 0 | 45 | PASSED | Good
zs-storage06 | nvme6n1 | Dell Express Flash NVMe P4610 3.2TB SFF | BTLN9195079F3P2BGN | VDV1DP21 | 3.20 TB | 250 TB | 63.2 TB | 0% | 99% | 10% | 16861 | 30 Celsius | 0x00 | 0 | 0 | 53 | PASSED | Good
zs-storage06 | nvme7n1 | Dell Express Flash NVMe P4610 3.2TB SFF | BTLN91950AHS3P2BGN | VDV1DP21 | 3.20 TB | 227 TB | 61.3 TB | 0% | 99% | 10% | 16862 | 31 Celsius | 0x00 | 0 | 0 | 53 | PASSED | Good
zs-storage06 | nvme8n1 | Dell Express Flash NVMe P4610 3.2TB SFF | BTLN919206883P2BGN | VDV1DP21 | 3.20 TB | 246 TB | 64.7 TB | 0% | 99% | 10% | 16861 | 32 Celsius | 0x00 | 0 | 0 | 53 | PASSED | Good
zs-storage06 | nvme9n1 | Dell Express Flash NVMe P4610 3.2TB SFF | BTLN905000R83P2BGN | VDV1DP21 | 3.20 TB | 166 TB | 29.1 TB | 0% | 100% | 10% | 12535 | 31 Celsius | 0x00 | 0 | 0 | 2 | PASSED | Good
zs-storage06 | nvme10n1 | Dell Express Flash NVMe P4610 3.2TB SFF | BTLN905002C03P2BGN | VDV1DP21 | 3.20 TB | 193 TB | 32.2 TB | 0% | 100% | 10% | 12548 | 30 Celsius | 0x00 | 0 | 0 | 37 | PASSED | Good
zs-storage06 | nvme11n1 | Dell Express Flash NVMe P4610 3.2TB SFF | BTLN905000KQ3P2BGN | VDV1DP21 | 3.20 TB | 218 TB | 31.9 TB | 0% | 100% | 10% | 12541 | 30 Celsius | 0x00 | 0 | 0 | 47 | PASSED | Good
zs-storage06 | nvme12n1 | Dell Express Flash NVMe P4610 3.2TB SFF | BTLN91950AKC3P2BGN | VDV1DP21 | 3.20 TB | 252 TB | 66.2 TB | 0% | 99% | 10% | 16862 | 30 Celsius | 0x00 | 0 | 0 | 4 | PASSED | Good
zs-storage06 | nvme13n1 | Dell Express Flash NVMe P4610 3.2TB SFF | BTLN919205A23P2BGN | VDV1DP21 | 3.20 TB | 251 TB | 64.7 TB | 0% | 99% | 10% | 16863 | 31 Celsius | 0x00 | 0 | 0 | 0 | PASSED | Good
zs-storage06 | nvme14n1 | Dell Express Flash NVMe P4610 3.2TB SFF | BTLN919107313P2BGN | VDV1DP21 | 3.20 TB | 242 TB | 56.8 TB | 0% | 99% | 10% | 16864 | 31 Celsius | 0x00 | 0 | 0 | 34 | PASSED | Good
zs-storage06 | nvme15n1 | Dell Express Flash NVMe P4610 3.2TB SFF | BTLN905000UU3P2BGN | VDV1DP21 | 3.20 TB | 209 TB | 33.2 TB | 0% | 99% | 10% | 12535 | 33 Celsius | 0x00 | 0 | 0 | 43 | PASSED | Good
zs-storage06 | nvme16n1 | Dell Express Flash NVMe P4610 3.2TB SFF | BTLN919205CD3P2BGN | VDV1DP21 | 3.20 TB | 231 TB | 54.7 TB | 0% | 100% | 10% | 16865 | 31 Celsius | 0x00 | 0 | 0 | 0 | PASSED | Good
zs-storage06 | nvme17n1 | Dell Express Flash NVMe P4610 3.2TB SFF | BTLN919208A63P2BGN | VDV1DP21 | 3.20 TB | 239 TB | 59.1 TB | 0% | 100% | 10% | 16864 | 30 Celsius | 0x00 | 0 | 0 | 45 | PASSED | Good
zs-storage06 | nvme18n1 | Dell Express Flash NVMe P4610 3.2TB SFF | BTLN85110JJL3P2BGN | VDV1DP21 | 3.20 TB | 202 TB | 41.2 TB | 0% | 100% | 10% | 16623 | 30 Celsius | 0x00 | 0 | 0 | 37 | PASSED | Good
zs-storage06 | nvme19n1 | Dell Express Flash NVMe P4610 3.2TB SFF | BTLN905002C83P2BGN | VDV1DP21 | 3.20 TB | 167 TB | 31.1 TB | 0% | 100% | 10% | 12542 | 30 Celsius | 0x00 | 0 | 0 | 1 | PASSED | Good
zs-storage06 | nvme20n1 | Dell Express Flash NVMe P4610 3.2TB SFF | BTLN905000LJ3P2BGN | VDV1DP21 | 3.20 TB | 723 GB | 84.4 GB | 0% | 100% | 10% | 12535 | 30 Celsius | 0x00 | 0 | 0 | 40 | PASSED | Good
zs-storage06 | nvme21n1 | Dell Express Flash NVMe P4610 3.2TB SFF | BTLN918600HT3P2BGN | VDV1DP21 | 3.20 TB | 164 TB | 29.3 TB | 0% | 100% | 10% | 12548 | 30 Celsius | 0x00 | 0 | 0 | 37 | PASSED | Good
zs-storage06 | nvme22n1 | Dell Express Flash NVMe P4610 3.2TB SFF | BTLN918601KX3P2BGN | VDV1DP21 | 3.20 TB | 160 TB | 28.3 TB | 0% | 100% | 10% | 12542 | 30 Celsius | 0x00 | 0 | 0 | 45 | PASSED | Good
zs-storage06 | nvme23n1 | Dell Express Flash NVMe P4610 3.2TB SFF | BTLN946200AS3P2BGN | VDV1DP21 | 3.20 TB | 157 TB | 33.5 TB | 0% | 99% | 10% | 13093 | 31 Celsius | 0x00 | 0 | 0 | 20 | PASSED | Good